## Meta Data
Instance | Well Number | Folder Path | Wellplate ID | Assay Run ID | Assay Tag | Start Time | Stop Time | Date | Control | Gain | LSB [µV] | Sampling Frequency [Hz] | HPF [Hz] | Number of Configurations | Duration per Configuration [s] | Well Group Name | Well Group Color
1 | 1 | /home/mxwbio/Data/Odaka/CO_260206_260318/260409/P005163/Network/000030 | P005163 | 000030 | Run #000030 | 13:56:25 | 14:01:25 | 2026-04-09 | 0 | 512 | 6.294 | 20000 | 1 | 1 | 300.018 | Default Group | #999999
2 | 1 | /home/mxwbio/Data/Odaka/CO_260206_260318/260409/P005163/Network/000030 | P005163 | 000030 | Run #000030 | 13:56:25 | 14:01:25 | 2026-04-09 | 0 | 512 | 6.294 | 20000 | 1 | 1 | 300.018 | Default Group | #999999
3 | 1 | /home/mxwbio/Data/Odaka/CO_260206_260318/260409/P005157/Network/000029 | P005157 | 000029 | Run #000029 | 13:49:10 | 13:54:10 | 2026-04-09 | 0 | 512 | 6.294 | 20000 | 1 | 1 | 300.023 | Default Group | #999999
4 | 1 | /home/mxwbio/Data/Odaka/CO_260206_260318/260409/P005157/Network/000029 | P005157 | 000029 | Run #000029 | 13:49:10 | 13:54:10 | 2026-04-09 | 0 | 512 | 6.294 | 20000 | 1 | 1 | 300.023 | Default Group | #999999
5 | 1 | /home/mxwbio/Data/Odaka/CO_260206_260318/260409/P005124/Network/000028 | P005124 | 000028 | Run #000028 | 13:40:47 | 13:45:47 | 2026-04-09 | 0 | 512 | 6.294 | 20000 | 1 | 1 | 300.026 | Default Group | #999999
6 | 1 | /home/mxwbio/Data/Odaka/CO_260206_260318/260409/P005124/Network/000028 | P005124 | 000028 | Run #000028 | 13:40:47 | 13:45:47 | 2026-04-09 | 0 | 512 | 6.294 | 20000 | 1 | 1 | 300.026 | Default Group | #999999
7 | 1 | /home/mxwbio/Data/Odaka/CO_260206_260318/260409/P005232/Network/000027 | P005232 | 000027 | Run #000027 | 13:26:39 | 13:31:39 | 2026-04-09 | 0 | 512 | 6.294 | 20000 | 1 | 1 | 300.028 | Default Group | #999999
8 | 1 | /home/mxwbio/Data/Odaka/CO_260206_260318/260409/P005232/Network/000027 | P005232 | 000027 | Run #000027 | 13:26:39 | 13:31:39 | 2026-04-09 | 0 | 512 | 6.294 | 20000 | 1 | 1 | 300.028 | Default Group | #999999
9 | 1 | /home/mxwbio/Data/Odaka/CO_260206_260318/260409/P005211/Network/000031 | P005211 | 000031 | Run #000031 | 14:04:52 | 14:09:52 | 2026-04-09 | 0 | 512 | 6.294 | 20000 | 1 | 1 | 300.03 | Default Group | #999999
10 | 1 | /home/mxwbio/Data/Odaka/CO_260206_260318/260409/P005211/Network/000031 | P005211 | 000031 | Run #000031 | 14:04:52 | 14:09:52 | 2026-04-09 | 0 | 512 | 6.294 | 20000 | 1 | 1 | 300.03 | Default Group | #999999
11 | 1 | /home/mxwbio/Data/Odaka/CO_260206_260318/260409/P005169/Network/000026 | P005169 | 000026 | Run #000026 | 13:16:40 | 13:21:40 | 2026-04-09 | 0 | 512 | 6.294 | 20000 | 1 | 1 | 300.03 | Default Group | #999999
12 | 1 | /home/mxwbio/Data/Odaka/CO_260206_260318/260409/P005169/Network/000026 | P005169 | 000026 | Run #000026 | 13:16:40 | 13:21:40 | 2026-04-09 | 0 | 512 | 6.294 | 20000 | 1 | 1 | 300.03 | Default Group | #999999
13 | 1 | /home/mxwbio/Data/Odaka/CO_260206_260318/260409/P005190/Network/000025 | P005190 | 000025 | Run #000025 | 13:08:50 | 13:13:50 | 2026-04-09 | 0 | 512 | 6.294 | 20000 | 1 | 1 | 300.084 | Default Group | #999999
14 | 1 | /home/mxwbio/Data/Odaka/CO_260206_260318/260409/P005190/Network/000025 | P005190 | 000025 | Run #000025 | 13:08:50 | 13:13:50 | 2026-04-09 | 0 | 512 | 6.294 | 20000 | 1 | 1 | 300.084 | Default Group | #999999

## Analysis Parameters
Instance | Analysis Type | Firing Rate Threshold [Hz] | Amplitude Threshold [µV] | ISI Threshold [ms] | N
1 | Activity Analysis | 0.1 | 20 | 200 | N/A
2 | ISI-N Burst Detector | N/A | N/A | N/A | 80
3 | Activity Analysis | 0.1 | 20 | 200 | N/A
4 | ISI-N Burst Detector | N/A | N/A | N/A | 80
5 | Activity Analysis | 0.1 | 20 | 200 | N/A
6 | ISI-N Burst Detector | N/A | N/A | N/A | 80
7 | Activity Analysis | 0.1 | 20 | 200 | N/A
8 | ISI-N Burst Detector | N/A | N/A | N/A | 80
9 | Activity Analysis | 0.1 | 20 | 200 | N/A
10 | ISI-N Burst Detector | N/A | N/A | N/A | 80
11 | Activity Analysis | 0.1 | 20 | 200 | N/A
12 | ISI-N Burst Detector | N/A | N/A | N/A | 80
13 | Activity Analysis | 0.1 | 20 | 200 | N/A
14 | ISI-N Burst Detector | N/A | N/A | N/A | 80

## Activity - Well Level
Instance | Active Area [%] | Mean Firing Rate [Hz] | Firing Rate std [Hz] | Firing Rate CV | Median Firing Rate [Hz] | Firing Rate 10th percentile [Hz] | Firing Rate 90th percentile [Hz] | Mean Spike Amplitude [µV] | Spike Amplitude std [µV] | Spike Amplitude CV | Median Spike Amplitude [µV] | Spike Amplitude 10th percentile [µV] | Spike Amplitude 90th percentile [µV] | Mean ISI [ms] | ISI std [ms] | ISI CV | Median ISI [ms] | ISI 10th percentile [ms] | ISI 90th percentile [ms] | Date | Wellplate ID | Well Number | Assay Run ID | DIV [days] | Well Group Name | Well Group Color | Control | Assay Tag
1 | 0.49 | 0.32 | 0.31 | 0.94 | 0.21 | 0.13 | 0.63 | 31.39 | 8.55 | 0.27 | 26.7 | 24.6 | 40.98 | 57.48 | 37.98 | 0.66 | 40.94 | 34.47 | 93.73 | 2026-04-09 | P005163 | 1 | 000030 | N/A | Default Group | #999999 | 0 | Run #000030
3 | 0.88 | 0.54 | 0.38 | 0.7 | 0.51 | 0.2 | 0.8 | 29.47 | 4.62 | 0.16 | 27.71 | 24.83 | 35.72 | 91.6 | 22.38 | 0.24 | 94.72 | 66.5 | 117.92 | 2026-04-09 | P005157 | 1 | 000029 | N/A | Default Group | #999999 | 0 | Run #000029
5 | 0.43 | 0.71 | 0.56 | 0.79 | 0.68 | 0.27 | 1.17 | 22.33 | 2.07 | 0.09 | 21.59 | 20.9 | 24.05 | 112.12 | 8.7 | 0.08 | 115.91 | 104.92 | 117.81 | 2026-04-09 | P005124 | 1 | 000028 | N/A | Default Group | #999999 | 0 | Run #000028
7 | 1.68 | 0.28 | 0.21 | 0.77 | 0.22 | 0.12 | 0.36 | 26.58 | 5.04 | 0.19 | 24.8 | 22.08 | 31.79 | 108.82 | 29.16 | 0.27 | 107.39 | 85.38 | 127.61 | 2026-04-09 | P005232 | 1 | 000027 | N/A | Default Group | #999999 | 0 | Run #000027
9 | 0.1 | 0.19 | N/A | N/A | 0.19 | 0.19 | 0.19 | 30.09 | N/A | N/A | 30.09 | 30.09 | 30.09 | 139.2 | N/A | N/A | 139.2 | 139.2 | 139.2 | 2026-04-09 | P005211 | 1 | 000031 | N/A | Default Group | #999999 | 0 | Run #000031
11 | 2.65 | 0.64 | 0.78 | 1.21 | 0.37 | 0.17 | 1.57 | 39.41 | 21.89 | 0.56 | 32.46 | 23.2 | 71.71 | 87.83 | 32.2 | 0.37 | 81.28 | 58.48 | 121.43 | 2026-04-09 | P005169 | 1 | 000026 | N/A | Default Group | #999999 | 0 | Run #000026
13 | 1.28 | 1.6 | 4.61 | 2.88 | 0.24 | 0.11 | 0.63 | 30.2 | 11.79 | 0.39 | 25.87 | 22.66 | 33.34 | 88.33 | 37.52 | 0.42 | 94.27 | 51.58 | 125.18 | 2026-04-09 | P005190 | 1 | 000025 | N/A | Default Group | #999999 | 0 | Run #000025

## Network - Well Level
Instance | Burst Frequency [Hz] | Spikes within Bursts [%] | Mean Spikes per Burst | Spikes per Burst std | Spikes per Burst CV | Median Spikes per Burst | Spikes per Burst 10th percentile | Spikes per Burst 90th percentile | Mean Spikes per Burst per Electrode | Spikes per Burst per Electrode std | Spikes per Burst per Electrode CV | Median Spikes per Burst per Electrode | Spikes per Burst per Electrode 10th percentile | Spikes per Burst per Electrode 90th percentile | Mean Burst Duration [s] | Burst Duration std [s] | Burst Duration CV | Median Burst Duration [s] | Burst Duration 10th percentile [s] | Burst Duration 90th percentile [s] | Mean Burst Peak Firing Rate [Hz] | Burst Peak Firing Rate std [Hz] | Burst Peak Firing Rate CV | Median Burst Peak Firing Rate [Hz] | Burst Peak Firing Rate 10th percentile [Hz] | Burst Peak Firing Rate 90th percentile [Hz] | Mean IBI [s] | IBI std [s] | IBI CV | Median IBI [s] | IBI 10th percentile [s] | IBI 90th percentile [s] | Mean ISI within Burst [ms] | ISI within Burst std [ms] | ISI within Burst CV | Median ISI within Burst [ms] | ISI within Burst 10th percentile [ms] | ISI within Burst 90th percentile [ms] | Mean ISI outside Burst [ms] | ISI outside Burst std [ms] | ISI outside Burst CV | Median ISI outside Burst [ms] | ISI outside Burst 10th percentile [ms] | ISI outside Burst 90th percentile [ms] | Date | Wellplate ID | Well Number | Assay Run ID | DIV [days] | Well Group Name | Well Group Color | Control | Assay Tag
2 | 0 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2026-04-09 | P005163 | 1 | 000030 | N/A | Default Group | #999999 | 0 | Run #000030
4 | 0.03 | 68.78 | 146.89 | 73.28 | 0.5 | 149 | 74.2 | 239.6 | 0.88 | 0.44 | 0.5 | 0.89 | 0.44 | 1.44 | 17.53 | 7.78 | 0.44 | 16.96 | 10.68 | 26.18 | 0.19 | 0.06 | 0.33 | 0.21 | 0.14 | 0.22 | 34.42 | 18.3 | 0.53 | 26.2 | 19.72 | 57.85 | 1312.61 | 2799.05 | 2.13 | 196.15 | 47.2 | 5164.1 | 2105.07 | 5407.57 | 2.57 | 209.52 | 44.95 | 6093.15 | 2026-04-09 | P005157 | 1 | 000029 | N/A | Default Group | #999999 | 0 | Run #000029
6 | 0 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2026-04-09 | P005124 | 1 | 000028 | N/A | Default Group | #999999 | 0 | Run #000028
8 | 0 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2026-04-09 | P005232 | 1 | 000027 | N/A | Default Group | #999999 | 0 | Run #000027
10 | 0 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2026-04-09 | P005211 | 1 | 000031 | N/A | Default Group | #999999 | 0 | Run #000031
12 | 0.09 | 74.2 | 186.92 | 53.48 | 0.29 | 180 | 107.5 | 257.5 | 0.75 | 0.22 | 0.29 | 0.72 | 0.44 | 1.04 | 3.21 | 0.64 | 0.2 | 3.08 | 2.43 | 4.19 | 0.44 | 0.07 | 0.16 | 0.46 | 0.34 | 0.5 | 11.43 | 4.83 | 0.42 | 10.72 | 7.27 | 15.81 | 156.57 | 322.1 | 2.06 | 63.15 | 18.04 | 323.59 | 887.39 | 1353.9 | 1.53 | 386.38 | 41.52 | 2192.28 | 2026-04-09 | P005169 | 1 | 000026 | N/A | Default Group | #999999 | 0 | Run #000026
14 | 0.05 | 42.33 | 171.81 | 74.95 | 0.44 | 150 | 91.5 | 284 | 0.9 | 0.4 | 0.44 | 0.78 | 0.48 | 1.5 | 6.87 | 3 | 0.44 | 6.14 | 3.64 | 11.47 | 0.18 | 0.03 | 0.15 | 0.17 | 0.16 | 0.22 | 16.59 | 10.24 | 0.62 | 13.58 | 7.67 | 32.76 | 246.87 | 663.56 | 2.69 | 61.8 | 13.89 | 618.23 | 326.68 | 1381.53 | 4.23 | 56.73 | 13.69 | 279.08 | 2026-04-09 | P005190 | 1 | 000025 | N/A | Default Group | #999999 | 0 | Run #000025

## Network - Burst Level
| Instance | Spikes per Burst | Spikes per Burst per Electrode | Burst Duration [s] | Burst Peak Firing Rate [Hz] | IBI [s] | Mean Burst ISI [ms] | Burst ISI CV | Date | Wellplate ID | Well Number | Assay Run ID | DIV [days] | Well Group Name | Well Group Color | Control | Assay Tag | burstTime
0 | 2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2026-04-09 | P005163 | 1 | 000030 | N/A | N/A | N/A | N/A | N/A | N/A
1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Default Group | #999999 | 0 | Run #000030 | N/A
2 | 4 | 149 | 0.89 | 16.96 | 0.22 | N/A | 1212.2 | 1.83 | 2026-04-09 | P005157 | 1 | 000029 | N/A | N/A | N/A | N/A | N/A | 36.09
3 | 4 | 208 | 1.25 | 22.84 | 0.24 | 26.2 | 1341.02 | 2.04 | 2026-04-09 | P005157 | 1 | 000029 | N/A | Default Group | #999999 | 0 | Run #000029 | 47.7
4 | 4 | 237 | 1.42 | 25.42 | 0.2 | 32.32 | 1540.71 | 2 | 2026-04-09 | P005157 | 1 | 000029 | N/A | N/A | N/A | N/A | N/A | 73.9
5 | 4 | 150 | 0.9 | 18.31 | 0.21 | 22.62 | 1194.42 | 1.97 | 2026-04-09 | P005157 | 1 | 000029 | N/A | N/A | N/A | N/A | N/A | 106.22
6 | 4 | 92 | 0.55 | 14.42 | 0.21 | 47.87 | 501.38 | 3.12 | 2026-04-09 | P005157 | 1 | 000029 | N/A | N/A | N/A | N/A | N/A | 128.84
7 | 4 | 250 | 1.5 | 29.23 | 0.2 | 72.82 | 1842.7 | 2.08 | 2026-04-09 | P005157 | 1 | 000029 | N/A | N/A | N/A | N/A | N/A | 176.71
8 | 4 | 128 | 0.77 | 16.83 | 0.21 | 23.77 | 872.44 | 2 | 2026-04-09 | P005157 | 1 | 000029 | N/A | N/A | N/A | N/A | N/A | 249.53
9 | 4 | 105 | 0.63 | 13.2 | 0.17 | 15.37 | 865.58 | 1.87 | 2026-04-09 | P005157 | 1 | 000029 | N/A | N/A | N/A | N/A | N/A | 273.3
10 | 4 | 3 | 0.02 | 0.58 | 0.02 | N/A | N/A | N/A | 2026-04-09 | P005157 | 1 | 000029 | N/A | N/A | N/A | N/A | N/A | 288.67
11 | 6 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2026-04-09 | P005124 | 1 | 000028 | N/A | N/A | N/A | N/A | N/A | N/A
12 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Default Group | #999999 | 0 | Run #000028 | N/A
13 | 8 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2026-04-09 | P005232 | 1 | 000027 | N/A | N/A | N/A | N/A | N/A | N/A
14 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Default Group | #999999 | 0 | Run #000027 | N/A
15 | 10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2026-04-09 | P005211 | 1 | 000031 | N/A | N/A | N/A | N/A | N/A | N/A
16 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Default Group | #999999 | 0 | Run #000031 | N/A
17 | 12 | 178 | 0.72 | 2.11 | 0.47 | N/A | 132.35 | 1.66 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 3.37
18 | 12 | 234 | 0.94 | 3.92 | 0.5 | 8.1 | 132.83 | 1.78 | 2026-04-09 | P005169 | 1 | 000026 | N/A | Default Group | #999999 | 0 | Run #000026 | 12.01
19 | 12 | 225 | 0.91 | 3.22 | 0.54 | 11.18 | 125.01 | 1.77 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 20.11
20 | 12 | 225 | 0.91 | 3.24 | 0.5 | 8.03 | 144.61 | 2 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 31.29
21 | 12 | 165 | 0.67 | 3.02 | 0.47 | 7.17 | 155.29 | 2.47 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 39.32
22 | 12 | 154 | 0.62 | 3.29 | 0.45 | 10.79 | 94.82 | 1.26 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 46.49
23 | 12 | 274 | 1.1 | 3.91 | 0.49 | 11.6 | 198.76 | 2.4 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 57.28
24 | 12 | 236 | 0.95 | 4.08 | 0.48 | 7.36 | 161.25 | 2.13 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 68.88
25 | 12 | 204 | 0.82 | 3.32 | 0.47 | 10.65 | 129.89 | 1.87 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 76.24
26 | 12 | 193 | 0.78 | 2.82 | 0.46 | 7.07 | 114.3 | 1.67 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 86.89
27 | 12 | 138 | 0.56 | 2.96 | 0.36 | 10.61 | 102.07 | 1.08 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 93.96
28 | 12 | 266 | 1.07 | 4.41 | 0.49 | 7.26 | 204.89 | 2.15 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 104.57
29 | 12 | 182 | 0.73 | 2.81 | 0.42 | 7.59 | 130.34 | 1.59 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 111.83
30 | 12 | 111 | 0.45 | 2.29 | 0.31 | 11.72 | 113.45 | 1.22 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 119.42
31 | 12 | 172 | 0.69 | 3.12 | 0.42 | 7.29 | 169.18 | 1.75 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 131.14
32 | 12 | 95 | 0.38 | 2.17 | 0.25 | 11.59 | 156.19 | 1.48 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 138.43
33 | 12 | 250 | 1.01 | 4.3 | 0.45 | 12.64 | 230.54 | 2.37 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 150.02
34 | 12 | 225 | 0.91 | 3.63 | 0.46 | 8.05 | 142.5 | 1.85 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 162.66
35 | 12 | 159 | 0.64 | 2.57 | 0.44 | 12.92 | 102.6 | 1.2 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 170.71
36 | 12 | 175 | 0.71 | 3 | 0.5 | 19.17 | 118.81 | 1.58 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 183.63
37 | 12 | 265 | 1.07 | 4.31 | 0.49 | 14.5 | 217.03 | 2.16 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 202.8
38 | 12 | 245 | 0.99 | 3.67 | 0.49 | 8.68 | 183.22 | 2.02 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 217.3
39 | 12 | 148 | 0.6 | 3.05 | 0.39 | 28.84 | 122.04 | 1.91 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 225.98
40 | 12 | 104 | 0.42 | 2.62 | 0.37 | 15.59 | 182.83 | 1.41 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 254.82
41 | 12 | 101 | 0.41 | 2.74 | 0.32 | 15.9 | 190.11 | 1.19 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 270.41
42 | 12 | 136 | 0.55 | 2.79 | 0.37 | N/A | 206.8 | 1.08 | 2026-04-09 | P005169 | 1 | 000026 | N/A | N/A | N/A | N/A | N/A | 286.31
43 | 14 | 326 | 1.72 | 13.02 | 0.21 | N/A | 296.05 | 2.81 | 2026-04-09 | P005190 | 1 | 000025 | N/A | N/A | N/A | N/A | N/A | 34.98
44 | 14 | 84 | 0.44 | 3.25 | 0.17 | 8.98 | 260.88 | 2.01 | 2026-04-09 | P005190 | 1 | 000025 | N/A | Default Group | #999999 | 0 | Run #000025 | 55.49
45 | 14 | 173 | 0.91 | 6.5 | 0.26 | 9.16 | 196.81 | 2.83 | 2026-04-09 | P005190 | 1 | 000025 | N/A | N/A | N/A | N/A | N/A | 64.47
46 | 14 | 126 | 0.66 | 5.17 | 0.19 | 40.02 | 119.63 | 1.66 | 2026-04-09 | P005190 | 1 | 000025 | N/A | N/A | N/A | N/A | N/A | 73.63
47 | 14 | 325 | 1.71 | 13.26 | 0.22 | 34.93 | 359.98 | 2.83 | 2026-04-09 | P005190 | 1 | 000025 | N/A | N/A | N/A | N/A | N/A | 113.65
48 | 14 | 141 | 0.74 | 5.96 | 0.15 | 7.11 | 138.78 | 2.3 | 2026-04-09 | P005190 | 1 | 000025 | N/A | N/A | N/A | N/A | N/A | 148.58
49 | 14 | 218 | 1.15 | 8.35 | 0.17 | 18.4 | 231.4 | 2.32 | 2026-04-09 | P005190 | 1 | 000025 | N/A | N/A | N/A | N/A | N/A | 155.69
50 | 14 | 151 | 0.79 | 6.15 | 0.17 | 14.52 | 172.55 | 2.15 | 2026-04-09 | P005190 | 1 | 000025 | N/A | N/A | N/A | N/A | N/A | 174.09
51 | 14 | 100 | 0.53 | 3.92 | 0.16 | 3.74 | 210.96 | 2.2 | 2026-04-09 | P005190 | 1 | 000025 | N/A | N/A | N/A | N/A | N/A | 188.61
52 | 14 | 83 | 0.44 | 3.35 | 0.17 | 12.65 | 194.84 | 2.75 | 2026-04-09 | P005190 | 1 | 000025 | N/A | N/A | N/A | N/A | N/A | 192.35
53 | 14 | 130 | 0.68 | 5.38 | 0.17 | 27.69 | 146.31 | 2.22 | 2026-04-09 | P005190 | 1 | 000025 | N/A | N/A | N/A | N/A | N/A | 205
54 | 14 | 149 | 0.78 | 6.14 | 0.17 | 10.65 | 338.63 | 2.17 | 2026-04-09 | P005190 | 1 | 000025 | N/A | N/A | N/A | N/A | N/A | 232.69
55 | 14 | 232 | 1.22 | 9.05 | 0.17 | 11.11 | 281.08 | 2.52 | 2026-04-09 | P005190 | 1 | 000025 | N/A | N/A | N/A | N/A | N/A | 243.34
56 | 14 | 169 | 0.89 | 6.4 | 0.22 | 17.89 | 219.34 | 2.53 | 2026-04-09 | P005190 | 1 | 000025 | N/A | N/A | N/A | N/A | N/A | 254.45
57 | 14 | 99 | 0.52 | 4.09 | 0.18 | 15.36 | 250.15 | 2.07 | 2026-04-09 | P005190 | 1 | 000025 | N/A | N/A | N/A | N/A | N/A | 272.34
58 | 14 | 243 | 1.28 | 9.92 | 0.18 | N/A | 248.74 | 2.58 | 2026-04-09 | P005190 | 1 | 000025 | N/A | N/A | N/A | N/A | N/A | 287.7